STANDARD OPERATING PROCEDURE (SOP) FOR 3D PRINTERS WITH METAL POWDERS

Institute (IC):

Laboratory:	                                                                                        Effective Date:

PI/Overseeing Official:	                                                                           Phone and Email:

Revision Date:	                                                                                        Reviewed/Approved by:

COMPLETE THE HIGHLIGHTED ITEMS

.

Filament Name (s): [chemical name]

Routes of Exposure: Inhalation, absorption, ingestion, and injection

Exposure Limits (e.g., Permissible Exposure Limit (PEL), Short Term Exposure Limit (STEL), etc.) if any (refer to Section 8 of SDS):

HAZARDS

Review Safety Data Sheets (SDSs) for all the chemicals before completing this section.  Attach SDS(s) to this SOP.

Metal powder: What metals are in the powder? Are there known health hazards from these metals (see safety data sheets), or can they react with the air?

Health hazard:

Fire hazard: Metal powder?

High temperature:

Electrocution:

Oxygen-deficient atmosphere:

Exposure to volatile organic compounds (VOCs): 3D printers emit volatile organic compounds (VOCs). Some of which are hazardous to health if inhaled, pose several health risks, including irritation to the respiratory system, damage to the central nervous system, cardiovascular diseases, etc.

Exposure to ultrafine particles (UFPs): release particles of ultrafine size (1–100 nm). They are small enough to be deposited deeper into the respiratory system when inhaled and can produce inflammatory responses in the cardiovascular and respiratory systems.

List the hazards of other chemicals if used in pre-or post-printing processes

Laser: can cause serious eye damage if exposed.

EQUIPMENT AND PROCESS

Describe briefly the equipment and process, including post-printing and maintenance procedures (refer to the operation manual):

HEPA/charcoal filters:

- Check and clean the filter regularly based on printing frequency.

- Replace the filter when it becomes clogged or loses efficiency.

PLANNING AND PRE-APPROVALS

Dispose of the filter as hazardous waste.

Before Ordering 3D printers:

- Contact DS (IC Safety Specialist) for a risk assessment of the space to ensure the planned use locations have appropriate ventilation and meet other safety requirements to prevent injuries/exposures.

- Consider printers that meet ANSI/CAN/UL 2904: Standard Testing/Assessment of 3D printing and meet established electrical safety and fire code standards.

- Consider printers with integrated enclosures, direct exhaust lines, and/or local active filtration systems equipped with HEPA. Ensure these features have been verified to be effective.

Identifying a location for installing the printer:

The location of the printer must be:

- Away from heavy traffic areas and isolated from other activities

- Appropriate Fire suppression system

- Negatively pressured area with a dedicated ventilation system

The PI/supervisor must conduct a hazard assessment to identify the hazards and develop exposure control strategies. If you need assistance in selecting appropriate PPE, contact your IC Safety Specialist.

Pre-approval from the Division of Safety: contact your IC Safety Specialist.

TRAINING

The PI is responsible for ensuring the users are appropriately trained

- Training on using the instrument (review of the manufacturer’s operating manual for all the processes, including selection of the filament and set-up, pre- and post-printing processes, cleaning, and maintenance), review of SDSs, and a review of this SOP will be provided by the PI/supervisor to personnel using the 3D printer.

- Hazard communication or Lab Safety training

- General shop safety/lab-specific safety training

- Specify any lab-specific training and approval process

ENGINEERING AND VENTILATION CONTROLS

The printer must be secured properly to ensure no movement during printing.

Describe in detail the procedures/processes, type of ventilation, and other control methods used for all the activities listed below. Requires Division of Safety (DS) review and approval.

Pre-printing: Describe the powder handling and containment activities. When transferring the materials, dust clouds should be kept at an absolute minimum. Handling should be slow and deliberate.

Printing: Describe printing activities: Ensure the system is a closed one with proper enclosures, and a review/approval of DS is required.

Post printing: Use a glove box or other containment system (for example, during cleaning and finishing activities), a ventilated sieving or powder dumping station. Processes like Electroplating/metal plating, etc., require additional SOP.

Maintenance and cleaning: Ventilation when handling powders outside of containment (HEPA-filtered and fire/explosion-appropriate waste vacuum). Include a brief description.

ADMINISTRATIVE CONTROLS

Below is a list of recommended administrative control strategies for 3D printing:

- Develop standard operating procedures (SOPs) for 3D printing covering all stages of printing operation, maintenance, and disposal of hazardous waste.

- Restrict access to 3D printing areas during its operations.

- Post appropriate signage at easily viewable locations

  - Restricted access

- Never remove/tamper with manufacturer-installed controls (e.g., interlock systems, heat shields, machine guarding).

- Limit the time spent near the printers by remote monitoring using cameras or leaving the area when direct supervision is not required. Allow a 15-20 minute waiting period (or as recommended by the manufacturer) after print failures or at the end of printing to allow the system to cool down and reduce exposure to VOCs/UFTs. It is recommended not to leave 3D printers unattended (Note: Consult with DS to review operations involving lengthy printing time).

- Follow the manufacturer’s guidelines for printing and cleaning the printer and use only the manufacturer-recommended printing materials.

- Set the nozzle and base plate temperatures at the lowest recommended settings.

Use materials tested and verified to have low chemical and particle emissions, if possible.

PERSONAL PROTECTIVE EQUIPMENT

PIs/supervisors are responsible for identifying appropriate PPE required for various activities and ensuring that the workers are complying with the PPE recommendations. If you need assistance in selecting appropriate PPE, contact your IC Safety Specialist. Describe the PPE here

Examples of PPE include:

- Hand protection: Appropriate gloves compatible with the materials in use (e.g., for chemicals, nitrile, other chemical-resistant gloves like butyl (refer to SDS)). Use cut-resistant gloves if scraping/removing, sharp tools, etc., are involved, and heat-resistant gloves for hot surfaces, etc., during the post-printing processes.

- Tyvek or coveralls

- Eye protection: (Safety glasses with side shields/goggles, etc.) and laser protection if the source is not shielded.

- Respiratory protection. DS approval is required for the use of respirators, including N95. Contact DS to conduct a risk assessment ( Respiratory Protection Program (RPP) ).

- Shoe covers.

Establish appropriate areas for donning and doffing of PPE (DS will assist with this process).

Appropriate PPE must be used during pre-printing, printing, and post-printing processes, including cleaning/maintenance. Never take PPE outside of the designated area to prevent spreading contamination.

DECONTAMINATION AND WASTE DISPOSAL

Gloves must be changed immediately if contaminated, torn, or punctured! Practice safe glove removal techniques! Wash your hands thoroughly after removing the PPE.

- Clean work areas frequently, using wet wiping techniques to avoid aerosolization of dust particles. Using a HEPA-filtered vacuum to clean floor/furniture, etc., is recommended. Never use Compressed air

- Any chemical waste, including contaminated debris (i.e., waste, scraps, dust, wipes, any contaminated materials, including disposable gloves, lab coats, etc.)   must be disposed of as hazardous waste.

Refer to the NIH Waste Disposal Guide for waste management and disposal.

CHEMICAL STORAGE

- Store the metal powders and other chemicals in sealed containers away from heat, flames, sparks, or any source of ignition by following SDS recommendations. Use secondary containment.

- Segregate chemicals according to hazard class.

- Powder containers that have been opened must be carefully resealed and kept upright to prevent leakage inside secondary containment.

SPILL AND EMERGENCY PROCEDURES

PHS Signage for the area if the powder is a carcinogen, reproductive toxin, or acute toxin.

Include the location of available safety equipment in the lab(s).

Location of Eyewash:

Location of Safety Shower:

Location of Fire Extinguisher:

Emergency Medical Help and High-level spills:

Delete not applicable location information.

- Bethesda, MD: 911 (on campus), 9-911 (off campus), 301-496-9911 (cell)

- Baltimore, MD: 911

- Frederick, MD: 911

- Hamilton, MT: 911

- Research Triangle Park, NC: 911 (landline), 919-541-2800 (cell)

Do not reenter the area until cleared by emergency responders

## Exposure Procedures

For eye or skin exposure, immediately flush at an eyewash or safety shower for at least 15 minutes. Seek emergency medical help if needed as described above.

The injury/exposure should be immediately reported to your supervisor and local OMS clinic:

Delete non-applicable location information

### Occupational Medical Services (OMS)

- Bethesda, MD: Building 10, Room 6C306- (301) 496-4411

- Baltimore, MD: 251 Bayview Blvd., BRC 01B210- (667) 312-5843

- Frederick, MD: 8200 Research Plaza, Room 1B116- (301) 631-7233

- Hamilton, MT: 903 South 4th Street, Room 5202- (406) 375-9755

TRAINING ATTESTATION

Research Triangle Park, NC: Building 101, Room E111- (984) 287-4178

All individuals working with [chemical name] must be trained on this SOP before starting work and reviewed at least annually or whenever there is a significant change in processes or procedures. They must also be trained on the [chemical name] SDS, and all documents must be readily accessible in the laboratory. Additionally, personnel must remain current on reviewing the Chemical Hygiene Plan (CHP). All training must be documented and maintained by the PI or their designee.

| Review and Acknowledgment: I have read, asked questions (as needed), and fully understand the hazards listed and will adhere to the safe working requirements for the procedures/materials described herein and the coinciding SDS. |  |  |
| --- | --- | --- |
| Documentation of Training on Standard Operating Procedure for: |  |  |
| Employee Name | SOP Training Date: | Signature |