## Lab
Lab/Areas* | BSC | CFH | Chemical | Cold Room | Electrical | Fire Safety | Gas Cylinders | Controls | Housekeeping | Practices | LAAPP | PPE | Refrigerators | Resources | Training | Waste
Lab/PI | [5 empty] | 2
Lab/PI | [5 empty] | 1 |  |  | 1 | [6 empty] | 1
Lab/PI |  |  | 1 | [5 empty] | 1 | [6 empty] | 1
Lab/PI |  |  | 1 | 1 |  | 1 | 1 |  | 2 |  |  | 1
Lab/PI |  |  | 1
Lab/PI |  |  | 2 | [5 empty] | 2
Lab/PI |  |  | 1 | [5 empty] | 2 |  |  | 1 |  |  |  | 1
Lab/PI
Lab/PI |  |  | 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  |  |  | 2
Lab/PI | [8 empty] | 1
Lab/PI | [5 empty] | 2
Lab/PI | [5 empty] | 1 |  |  | 1 | [6 empty] | 1
Lab/PI |  |  | 1 | [5 empty] | 1 | [6 empty] | 1
Lab/PI |  |  | 1 | 1 |  | 1 | 1 |  | 2 |  |  | 1
Lab/PI |  |  | 1
Lab/PI |  |  | 2 | [5 empty] | 2
Lab/PI |  |  | 1 | [5 empty] | 2 |  |  | 1 |  |  |  | 1
Lab/PI
Lab/PI |  |  | 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  |  |  | 2
Lab/PI | [8 empty] | 1
Totals | 0 | 0 | 14 | 2 | 0 | 10 | 2 | 0 | 20 | 2 | 0 | 6 | 0 | 0 | 0 | 10 | 66
* This information can refer to lab branch/office/floor or any other identifying location
**Numbers in table are for example only, please replace with your survey findings
*** Use graph edit function to remove all areas with zero findings.

## Corridors
Lab/Areas* | Materials | Glass | Egress | Clear Exits | Emergency Equip. | Panels | Radiation | Fire Doors | GFCI
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor
Bldg/floor | 1 | [5 empty] | 2
Bldg/floor | [6 empty] | 1
Bldg/floor
Bldg/floor |  |  | 1 |  | 1 |  | 1 | 1
Bldg/floor
Bldg/floor |  |  | 2
Bldg/floor |  |  | 5
Bldg/floor |  | 2
Bldg/floor
Bldg/floor
Bldg/floor |  |  | 1 |  |  |  | 1
Bldg/floor
* This information can refer to lab branch/office/floor or any other identifying location
**Numbers in table are for example only, please replace with your survey findings
*** Use graph edit function to remove all areas with zero findings.

## Offices
Lab/Areas* | Cleanliness | Egress | Wet Floors | Trip Hazards | Lighting | Signage | Cords | GFCI | Panels | Sprinklers | Doors | Extinguishers | Heaters
Bldg/floor | [6 empty] | 2
Bldg/floor | [6 empty] | 1 |  |  | 1
Bldg/floor |  |  | 1 | [6 empty] | 1
Bldg/floor |  |  | 1 |  | 1 |  | 1 | 1 |  | 2 |  |  | 1
Bldg/floor |  |  | 1
Bldg/floor |  |  | 2 | [6 empty] | 2
Bldg/floor |  |  | 1 | [6 empty] | 2 |  |  | 1
Bldg/floor
Bldg/floor |  |  | 1 |  |  |  | 1 |  |  | 1 | 1 |  | 1
Bldg/floor | [9 empty] | 1
Bldg/floor | [6 empty] | 2
Bldg/floor | [6 empty] | 1 |  |  | 1
Bldg/floor |  |  | 1 | [6 empty] | 1
Bldg/floor |  |  | 1 |  | 1 |  | 1 | 1 |  | 2 |  |  | 1
Bldg/floor |  |  | 1
Bldg/floor |  |  | 2 | [6 empty] | 2
Bldg/floor |  |  | 1 | [6 empty] | 2 |  |  | 1
Bldg/floor
Bldg/floor |  |  | 1 |  |  |  | 1 |  |  | 1 | 1 |  | 1
Bldg/floor | [9 empty] | 1
* This information can refer to lab branch/office/floor or any other identifying location
**Numbers in table are for example only, please replace with your survey findings
*** Use graph edit function to remove all areas with zero findings.

## Annual comparison
| BSC | CFH | Chemical | Cold Room | Electrical | Fire Safety | Gas Cylinders | Controls | Housekeeping | Practices | LAAPP | PPE | Refrigerators | Resources | Training | Waste
2023 | 0 | 0 | 7 | 1 | 0 | 5 | 1 | 0 | 10 | 1 | 0 | 3 | 0 | 0 | 0 | 5
2022 | 0 | 0 | 1 | 1 | 1 | 4 | 3 | 2 | 8 | 1 | 0 | 5 | 0 | 0 | 0 | 8
2021 | 3 | 6 | 3 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 6 | 0 | 0 | 0 | 9
**Numbers in table are for example only, please replace with your annual survey findings