###### CORRIDOR -- SAFETY COMMITTEE SURVEY

Date:	___________  	     Location:  _____________________________

Management Official(s):  _______________ Surveyor(s):  ___________________________

Facility Rep(s): ________________

General Safety Items	     					            T         F       N/A     HR*

- No hazardous materials (chemicals, gas cylinders, etc.) or                                               equipment are present.

- No glass doors on refrigerators or storage cabinets; no open                                             storage of glassware.

- The appropriate corridor width (Bldg.10 Patient Care - 8ft., Bldg. 10 other                                                                 areas - 5ft., all other buildings - 4.5ft.) is maintained, clear of storage                                     and obstructions.

- No storage or waste is present in exit areas, stairwells, areas of refuge                                                     and elevator lobbies.

- All emergency equipment including safety showers,                                            eyewashes, sprinklers, fire extinguishers, and fire alarm pull                                    stations are maintained with full and unobstructed access.

- Utility panels/electrical boxes and equipment closets are accessible.

- Radioactive materials are not stored in corridors, except for                                    autoradiography film cassettes in locked refrigerators or freezers.

- There is no evidence of fire doors being propped open.

- Fire extinguishers are available within 75 feet of occupied areas,                                    mounted properly and are unobstructed.

- GFCI outlets are used when within 1m/3 feet of water sources                                       (i.e., water fountains).

Other hazards identified (i.e., signs of leaks, mold, and etc.):  _________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Comments/ Recommendations:  _________________________________________________________________________________________________________________________________________________________________________________________________________________________________