###### OFFICE -- SAFETY COMMITTEE SURVEY

| Date: __________________ IC: ____________________________________________ Bldg.: __________ |  |  |
| --- | --- | --- |
| Room(s): |  |  |
| Management/Facility Official(s): _______________________________________________________________________________ Surveyor(s): _______________________________________________________________________________ |  |  |
| General Safety Items | T F I* | Findings (explanation and room numbers(s)) |
| - Work areas are clean and not cluttered. Lab items/materials are not present in offices. |  |  |
| - Walkways and exit doors are unobstructed (at least 36” clearance). |  |  |
| - The floor is not wet or slippery in kitchen/break/high traffic areas. |  |  |
| - The floor surface is level and undamaged (i.e., no wrinkled carpet, mats, cords, or cables to cause a tripping hazard). |  |  |
| - Lighting in work areas and walkways is adequate. |  |  |
| - Egress signage is posted properly, clearly visible, lighted, and with obvious pathways and designated exits. |  |  |
| - Extension cords and power strips are used properly (i.e., not for permanent use or daisy chains). |  |  |
| - GFCI outlets are used when within 1m/3 feet of water sources (i.e., water fountains). |  |  |
| - Electrical panels are unobstructed. |  |  |
| - Sprinklers are unobstructed (i.e., 18” clearance from storage/shelves). |  |  |
| - There is no evidence of fire doors being propped open or obstructed. |  |  |
| - Fire extinguishers are available within 75 feet of occupied areas, are mounted properly, and are unobstructed. |  |  |
| - Space heaters are in compliance with NIH requirements and have approval from Fire Marshall’s office. (http://www.ors.od.nih.gov/News/Pages/Space-Heaters.aspx). |  |  |

Other hazards identified (i.e., signs of leaks, mold, etc.):  ______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Comments/Recommendations:  ________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________